## Slide 1
Clean Meter
Nova StatStrip Glucometer Tips
Wet Time: 4 Minutes
  Front and back
    3 swipes horizontally
    3 swipes vertically
  Use additional bleach wipes to keep wet for 4 minutes
    Alcohol wipe to remove white residue.
Do Not Dock until 4 min wet time is complete!
Use Bleach Wipes
6 months after opening (or until printed expiration date)
3 months after opening (or until printed expiration date)
Do not enter a Biomed Ticket for a broken glucometer.
Follow these steps:
Hand carry the meter down to the POC Office.
  Room 1408, 1st Floor, New Tower, Patient Discharge Hallway (Lab)
Fill out the instrument issue form.
Leave the broken glucometer and filled out form on tall counter.
          Office number: (479) 338-2844
          ROGRRGMercyPOC@mercy.net
Between each patient.
Date All Opened Vials And Strips
Broken Glucometer?
POC Contact Info