## Edited
Date/Time | Lot | Device | Serial Number | Location | Operator Full Name | QltyCode | Total # of Tests Ran | Total # of Tests Per Month | Week Number | Month # | MonthName | Date
2025-08-07 08:22 | 219W251120243 | Lab #1 | 410562 | RG LAB IS/Z Lab | Redacted |  | 20415 | 584 | 2 | 8 | January | 2025-08-07
2025-08-07 08:11 | 219W251120243 | Lab #1 | 410562 | RG LAB IS/Z Lab | Redacted |  | 20415 | 584 | 2 | 8 | January | 2025-08-07
2025-08-07 08:03 | 219W251120243 | Lab #1 | 410562 | RG LAB IS/Z Lab | Redacted |  | 20415 | 584 | 2 | 8 | January | 2025-08-07
2025-08-07 07:58 | 219W251120243 | Lab #1 | 410562 | RG LAB IS/Z Lab | Redacted |  | 20415 | 584 | 2 | 8 | January | 2025-08-07
2025-08-06 16:18 | 218A251780181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 584 | 2 | 8 | January | 2025-08-06
2025-08-06 11:53 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 584 | 2 | 8 | January | 2025-08-06
2025-08-06 03:27 | 226N251200243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 584 | 2 | 8 | January | 2025-08-06
2025-08-05 20:20 | 436R251660181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted |  | 20415 | 584 | 2 | 8 | January | 2025-08-05
2025-08-05 09:24 | 436R251660181 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 31 | 20415 | 584 | 2 | 8 | January | 2025-08-05
2025-08-04 09:56 | 436R251660181 | Lab #8 | 334555 | RG LAB IS/Z Lab | Redacted | CODE 39 | 20415 | 584 | 2 | 8 | January | 2025-08-04
2025-08-04 09:55 | 436R251660181 | Lab #2 | 437102 | RG LAB IS/Z Lab | Redacted | CODE 39 | 20415 | 584 | 2 | 8 | January | 2025-08-04
2025-08-04 01:46 | 436R251660181 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 15 | 20415 | 584 | 2 | 8 | January | 2025-08-04
2025-08-03 20:46 | 218A251412181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 584 | 2 | 8 | January | 2025-08-03
2025-08-03 14:57 | 218A251412181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 23 | 20415 | 584 | 2 | 8 | January | 2025-08-03
2025-08-03 14:52 | 218A251412181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 584 | 2 | 8 | January | 2025-08-03
2025-08-03 03:01 | 226N251200243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 35 | 20415 | 584 | 2 | 8 | January | 2025-08-03
2025-08-03 02:50 | 226N251200243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted |  | 20415 | 584 | 2 | 8 | January | 2025-08-03
2025-08-02 19:24 | 226N250190243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 584 | 1 | 8 | January | 2025-08-02
2025-08-02 16:52 | 218A251200181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 30 | 20415 | 584 | 1 | 8 | January | 2025-08-02
2025-08-01 16:05 | 219W251120243 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 43 | 20415 | 584 | 1 | 8 | January | 2025-08-01
2025-07-31 10:03 | 218A251412181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2830 | 5 | 7 | January | 2025-07-31
2025-07-31 09:56 | 218A251412181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2830 | 5 | 7 | January | 2025-07-31
2025-07-30 15:02 | 226N251200243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted |  | 20415 | 2830 | 5 | 7 | January | 2025-07-30
2025-07-30 13:15 | 436R251280181 | Cath Lab 3 | 368309 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 2830 | 5 | 7 | January | 2025-07-30
2025-07-30 10:19 | 226N251200243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 80 | 20415 | 2830 | 5 | 7 | January | 2025-07-30
2025-07-30 08:37 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2830 | 5 | 7 | January | 2025-07-30
2025-07-30 08:31 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2830 | 5 | 7 | January | 2025-07-30
2025-07-30 03:14 | 226N251200243 | RT 4WEST | 342137 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2830 | 5 | 7 | January | 2025-07-30
2025-07-25 07:37 | 436R251280181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 79 | 20415 | 2830 | 4 | 7 | January | 2025-07-25
2025-07-25 06:10 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2830 | 4 | 7 | January | 2025-07-25
2025-07-24 19:32 | 218A251200181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 2830 | 4 | 7 | January | 2025-07-24
2025-07-24 11:18 | 218A251200181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 30 | 20415 | 2830 | 4 | 7 | January | 2025-07-24
2025-07-24 11:11 | 218A251412181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 43 | 20415 | 2830 | 4 | 7 | January | 2025-07-24
2025-07-23 19:08 | 226N250800243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 31 | 20415 | 2830 | 4 | 7 | January | 2025-07-23
2025-07-23 18:16 | 218A251200181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 2830 | 4 | 7 | January | 2025-07-23
2025-07-23 18:08 | 218A251200181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 2830 | 4 | 7 | January | 2025-07-23
2025-07-22 15:59 | 226N250800243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 35 | 20415 | 2830 | 4 | 7 | January | 2025-07-22
2025-07-22 14:04 | 219W251120243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 30 | 20415 | 2830 | 4 | 7 | January | 2025-07-22
2025-07-22 12:23 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 2830 | 4 | 7 | January | 2025-07-22
2025-07-22 12:14 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2830 | 4 | 7 | January | 2025-07-22
2025-07-22 09:21 | 226N250800243 | SD HOSP LAB 1 | 386814 | RG SD IS/RG SD LAB | Redacted | CODE 30 | 20415 | 2830 | 4 | 7 | January | 2025-07-22
2025-07-19 10:53 | 218A251412181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2830 | 3 | 7 | January | 2025-07-19
2025-07-19 10:49 | 218A251412181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 38 | 20415 | 2830 | 3 | 7 | January | 2025-07-19
2025-07-18 21:02 | 226N250800243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-18 16:08 | 219W251120243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 80 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-18 12:22 |  | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 95 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-18 11:37 | 218A251200181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 31 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-18 11:29 | 218A251090181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 34 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-18 10:57 | 218A251412181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-18 07:57 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-18 03:56 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2830 | 3 | 7 | January | 2025-07-18
2025-07-17 16:25 | 218A251412181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2830 | 3 | 7 | January | 2025-07-17
2025-07-17 16:21 | 218A251412181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2830 | 3 | 7 | January | 2025-07-17
2025-07-17 16:18 | 218A251412181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2830 | 3 | 7 | January | 2025-07-17
2025-07-17 08:35 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2830 | 3 | 7 | January | 2025-07-17
2025-07-16 10:55 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2830 | 3 | 7 | January | 2025-07-16
2025-07-16 09:24 | 436R251280181 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 44 | 20415 | 2830 | 3 | 7 | January | 2025-07-16
2025-07-16 01:43 | 226N250800243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2830 | 3 | 7 | January | 2025-07-16
2025-07-15 15:16 | 226N250800243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2830 | 3 | 7 | January | 2025-07-15
2025-07-15 12:24 | 218A251200181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 35 | 20415 | 2830 | 3 | 7 | January | 2025-07-15
2025-07-15 11:08 | 218A251412181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2830 | 3 | 7 | January | 2025-07-15
2025-07-14 15:26 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2830 | 3 | 7 | January | 2025-07-14
2025-07-14 10:44 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2830 | 3 | 7 | January | 2025-07-14
2025-07-14 10:42 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2830 | 3 | 7 | January | 2025-07-14
2025-07-14 08:48 | 436R251280181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 1 | 20415 | 2830 | 3 | 7 | January | 2025-07-14
2025-07-13 04:30 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2830 | 3 | 7 | January | 2025-07-13
2025-07-12 09:02 | 436R251280181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 1 | 20415 | 2830 | 2 | 7 | January | 2025-07-12
2025-07-12 08:11 | 219L250930243 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 80 | 20415 | 2830 | 2 | 7 | January | 2025-07-12
2025-07-11 10:11 | 218A251200181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 38 | 20415 | 2830 | 2 | 7 | January | 2025-07-11
2025-07-11 03:31 | 226N250800243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2830 | 2 | 7 | January | 2025-07-11
2025-07-10 22:13 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2830 | 2 | 7 | January | 2025-07-10
2025-07-10 10:52 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2830 | 2 | 7 | January | 2025-07-10
2025-07-10 08:56 | 218A251200181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2830 | 2 | 7 | January | 2025-07-10
2025-07-10 08:44 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2830 | 2 | 7 | January | 2025-07-10
2025-07-10 07:14 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2830 | 2 | 7 | January | 2025-07-10
2025-07-09 18:43 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 38 | 20415 | 2830 | 2 | 7 | January | 2025-07-09
2025-07-09 18:38 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2830 | 2 | 7 | January | 2025-07-09
2025-07-09 14:57 | 218A251200181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 30 | 20415 | 2830 | 2 | 7 | January | 2025-07-09
2025-07-09 10:33 | 218A251200181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2830 | 2 | 7 | January | 2025-07-09
2025-07-08 12:25 | 218A251200181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2830 | 2 | 7 | January | 2025-07-08
2025-07-08 09:59 | 218A251200181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 23 | 20415 | 2830 | 2 | 7 | January | 2025-07-08
2025-07-07 12:59 | 226N250800243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2830 | 2 | 7 | January | 2025-07-07
2025-07-06 17:57 | 226N250800243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 38 | 20415 | 2830 | 2 | 7 | January | 2025-07-06
2025-07-04 22:46 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 23 | 20415 | 2830 | 1 | 7 | January | 2025-07-04
2025-07-04 11:33 | 226N250800243 | MAIN LAB | 358992 | RG LAB IS/MAIN LAB | Redacted | CODE 31 | 20415 | 2830 | 1 | 7 | January | 2025-07-04
2025-07-03 15:45 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 79 | 20415 | 2830 | 1 | 7 | January | 2025-07-03
2025-07-03 14:11 | 218A251090181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 31 | 20415 | 2830 | 1 | 7 | January | 2025-07-03
2025-07-03 13:56 | 436R251280181 | CVOR #5 | 441294 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2830 | 1 | 7 | January | 2025-07-03
2025-07-03 13:56 | 219W251120243 | CVOR #6 | 441295 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2830 | 1 | 7 | January | 2025-07-03
2025-07-03 12:11 | 436R251280181 | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2830 | 1 | 7 | January | 2025-07-03
2025-07-03 00:32 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 23 | 20415 | 2830 | 1 | 7 | January | 2025-07-03
2025-07-02 20:24 | 436R251280181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 22 | 20415 | 2830 | 1 | 7 | January | 2025-07-02
2025-07-02 15:18 | 226N250190243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 42 | 20415 | 2830 | 1 | 7 | January | 2025-07-02
2025-07-02 09:54 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 1 | 20415 | 2830 | 1 | 7 | January | 2025-07-02
2025-07-02 09:04 | 436R251280181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 44 | 20415 | 2830 | 1 | 7 | January | 2025-07-02
2025-07-01 15:49 | 218A251200181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2830 | 1 | 7 | January | 2025-07-01
2025-07-01 11:44 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 36 | 20415 | 2830 | 1 | 7 | January | 2025-07-01
2025-07-01 11:38 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 36 | 20415 | 2830 | 1 | 7 | January | 2025-07-01
2025-07-01 11:29 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2830 | 1 | 7 | January | 2025-07-01
2025-07-01 11:18 | 218A251200181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2830 | 1 | 7 | January | 2025-07-01
2025-06-30 08:56 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3032 | 5 | 6 | January | 2025-06-30
2025-06-30 01:04 | 226N250800243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 3032 | 5 | 6 | January | 2025-06-30
2025-06-29 08:01 | 218A251200181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3032 | 5 | 6 | January | 2025-06-29
2025-06-28 12:09 | 218A251090181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 3032 | 4 | 6 | January | 2025-06-28
2025-06-27 19:12 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-27 17:13 | 218A251090181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 36 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-27 16:17 | 218A251090181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-27 13:15 | 218A251090181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 23 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-27 10:01 | 218A251200181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-27 09:29 | 436R251280181 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 22 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-27 07:46 | 219L250930243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 35 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-27 04:19 | 226N250800243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3032 | 4 | 6 | January | 2025-06-27
2025-06-26 11:13 | 219W243210243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 23 | 20415 | 3032 | 4 | 6 | January | 2025-06-26
2025-06-25 04:38 | 226N250800243 | MAIN LAB | 358992 | RG LAB IS/MAIN LAB | Redacted | CODE 36 | 20415 | 3032 | 4 | 6 | January | 2025-06-25
2025-06-24 16:40 | 226N250210243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 42 | 20415 | 3032 | 4 | 6 | January | 2025-06-24
2025-06-24 16:36 | 226N250800243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 3032 | 4 | 6 | January | 2025-06-24
2025-06-24 08:18 | 218A251090181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 34 | 20415 | 3032 | 4 | 6 | January | 2025-06-24
2025-06-24 01:16 | 226N250800243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 31 | 20415 | 3032 | 4 | 6 | January | 2025-06-24
2025-06-23 16:44 |  | Cath Lab 2 | 340072 | RG LAB IS/H Cath Lab | Redacted | CODE 95 | 20415 | 3032 | 4 | 6 | January | 2025-06-23
2025-06-23 13:10 | 226N250800243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 1 | 20415 | 3032 | 4 | 6 | January | 2025-06-23
2025-06-22 18:40 | 226N250800243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 3032 | 4 | 6 | January | 2025-06-22
2025-06-22 15:59 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 3032 | 4 | 6 | January | 2025-06-22
2025-06-22 02:28 | 219L250930243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 31 | 20415 | 3032 | 4 | 6 | January | 2025-06-22
2025-06-21 17:18 | 218A251090181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 34 | 20415 | 3032 | 3 | 6 | January | 2025-06-21
2025-06-19 14:23 | 218A251090181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 3032 | 3 | 6 | January | 2025-06-19
2025-06-19 13:08 | 218A251200181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3032 | 3 | 6 | January | 2025-06-19
2025-06-19 12:51 | 218A251200181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3032 | 3 | 6 | January | 2025-06-19
2025-06-19 08:12 | 218A251090181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 30 | 20415 | 3032 | 3 | 6 | January | 2025-06-19
2025-06-18 14:16 | 218A251090181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3032 | 3 | 6 | January | 2025-06-18
2025-06-18 13:48 | 226N250210243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 31 | 20415 | 3032 | 3 | 6 | January | 2025-06-18
2025-06-17 21:40 |  | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 95 | 20415 | 3032 | 3 | 6 | January | 2025-06-17
2025-06-17 15:17 | 218A251090181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3032 | 3 | 6 | January | 2025-06-17
2025-06-17 12:51 |  | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 95 | 20415 | 3032 | 3 | 6 | January | 2025-06-17
2025-06-17 10:00 | 436R251020181 | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 3 | 6 | January | 2025-06-17
2025-06-17 07:57 | 219W243210243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 31 | 20415 | 3032 | 3 | 6 | January | 2025-06-17
2025-06-17 07:36 | 436R250430181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 39 | 20415 | 3032 | 3 | 6 | January | 2025-06-17
2025-06-17 05:00 | 226N250210243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 35 | 20415 | 3032 | 3 | 6 | January | 2025-06-17
2025-06-16 16:23 | 226N250210243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 34 | 20415 | 3032 | 3 | 6 | January | 2025-06-16
2025-06-16 14:54 | 436R251280181 | Cath Lab 2 | 340072 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 3032 | 3 | 6 | January | 2025-06-16
2025-06-16 11:42 | 218A251090181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 3032 | 3 | 6 | January | 2025-06-16
2025-06-14 18:06 | 226N250210243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 38 | 20415 | 3032 | 2 | 6 | January | 2025-06-14
2025-06-14 11:10 | 436R251020181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 3032 | 2 | 6 | January | 2025-06-14
2025-06-13 10:00 | 436R251020181 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 44 | 20415 | 3032 | 2 | 6 | January | 2025-06-13
2025-06-12 15:52 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3032 | 2 | 6 | January | 2025-06-12
2025-06-12 14:20 | 218A251090181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3032 | 2 | 6 | January | 2025-06-12
2025-06-12 12:20 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 2 | 6 | January | 2025-06-12
2025-06-12 08:54 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 3032 | 2 | 6 | January | 2025-06-12
2025-06-10 16:22 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 2 | 6 | January | 2025-06-10
2025-06-10 16:04 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 2 | 6 | January | 2025-06-10
2025-06-10 15:58 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 2 | 6 | January | 2025-06-10
2025-06-10 14:58 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3032 | 2 | 6 | January | 2025-06-10
2025-06-09 16:30 | 226N250210243 | MAIN LAB | 358992 | RG LAB IS/MAIN LAB | Redacted | CODE 36 | 20415 | 3032 | 2 | 6 | January | 2025-06-09
2025-06-09 16:26 | 226N250210243 | MAIN LAB | 358992 | RG LAB IS/MAIN LAB | Redacted | CODE 30 | 20415 | 3032 | 2 | 6 | January | 2025-06-09
2025-06-08 18:33 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 3032 | 2 | 6 | January | 2025-06-08
2025-06-06 09:58 | 218A243510181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 79 | 20415 | 3032 | 1 | 6 | January | 2025-06-06
2025-06-06 07:10 | 436R251020181 | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 31 | 20415 | 3032 | 1 | 6 | January | 2025-06-06
2025-06-04 13:54 | 436R251020181 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 31 | 20415 | 3032 | 1 | 6 | January | 2025-06-04
2025-06-04 13:07 | 218A250580181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3032 | 1 | 6 | January | 2025-06-04
2025-06-04 10:27 | 218A251090181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 31 | 20415 | 3032 | 1 | 6 | January | 2025-06-04
2025-06-03 14:34 | 218A251090181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 31 | 20415 | 3032 | 1 | 6 | January | 2025-06-03
2025-06-03 10:51 | 218A251090181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 35 | 20415 | 3032 | 1 | 6 | January | 2025-06-03
2025-06-03 10:02 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 1 | 6 | January | 2025-06-03
2025-06-03 08:44 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 1 | 6 | January | 2025-06-03
2025-06-03 08:41 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3032 | 1 | 6 | January | 2025-06-03
2025-06-03 08:27 | 226N250210243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 30 | 20415 | 3032 | 1 | 6 | January | 2025-06-03
2025-06-03 03:35 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 23 | 20415 | 3032 | 1 | 6 | January | 2025-06-03
2025-06-02 11:48 | 436R251020181 | Lab #4 | 353757 | RG LAB IS/Z Lab | Redacted | CODE 1 | 20415 | 3032 | 1 | 6 | January | 2025-06-02
2025-06-02 10:21 | 226N250590243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3032 | 1 | 6 | January | 2025-06-02
2025-06-02 09:25 | 436R251020181 | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 22 | 20415 | 3032 | 1 | 6 | January | 2025-06-02
2025-06-01 19:04 | 226N250210243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 31 | 20415 | 3032 | 1 | 6 | January | 2025-06-01
2025-05-31 05:09 | 226N250210243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 30 | 20415 | 3002 | 5 | 5 | January | 2025-05-31
2025-05-29 22:29 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3002 | 5 | 5 | January | 2025-05-29
2025-05-29 15:25 |  | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 69 | 20415 | 3002 | 5 | 5 | January | 2025-05-29
2025-05-29 12:46 | 218A251090181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 30 | 20415 | 3002 | 5 | 5 | January | 2025-05-29
2025-05-29 12:07 | 218A250260181 | SD HOSP LAB 1 | 386814 | RG SD IS/RG SD LAB | Redacted | CODE 31 | 20415 | 3002 | 5 | 5 | January | 2025-05-29
2025-05-29 12:06 | 436R251020181 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 79 | 20415 | 3002 | 5 | 5 | January | 2025-05-29
2025-05-29 08:52 | 226N250590243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 79 | 20415 | 3002 | 5 | 5 | January | 2025-05-29
2025-05-29 01:11 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3002 | 5 | 5 | January | 2025-05-29
2025-05-28 16:06 | 218A251090181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 79 | 20415 | 3002 | 5 | 5 | January | 2025-05-28
2025-05-28 12:06 |  | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 95 | 20415 | 3002 | 5 | 5 | January | 2025-05-28
2025-05-28 09:48 | 226N250590243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 34 | 20415 | 3002 | 5 | 5 | January | 2025-05-28
2025-05-28 09:29 | 219W250090243 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 27 | 20415 | 3002 | 5 | 5 | January | 2025-05-28
2025-05-27 16:41 |  | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 95 | 20415 | 3002 | 5 | 5 | January | 2025-05-27
2025-05-26 21:29 | 226N250210243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3002 | 5 | 5 | January | 2025-05-26
2025-05-26 15:59 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3002 | 5 | 5 | January | 2025-05-26
2025-05-25 14:41 | 226N250210243 | Cath Lab 2 | 340072 | RG LAB IS/H Cath Lab | Redacted | CODE 36 | 20415 | 3002 | 5 | 5 | January | 2025-05-25
2025-05-25 13:37 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3002 | 5 | 5 | January | 2025-05-25
2025-05-25 04:07 | 226N250590243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3002 | 5 | 5 | January | 2025-05-25
2025-05-24 23:13 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 1 | 20415 | 3002 | 4 | 5 | January | 2025-05-24
2025-05-24 09:32 | 436R251020181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 3002 | 4 | 5 | January | 2025-05-24
2025-05-23 17:40 | 218A251090181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 43 | 20415 | 3002 | 4 | 5 | January | 2025-05-23
2025-05-22 19:12 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3002 | 4 | 5 | January | 2025-05-22
2025-05-22 06:10 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 43 | 20415 | 3002 | 4 | 5 | January | 2025-05-22
2025-05-21 14:56 | 226N250590243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 31 | 20415 | 3002 | 4 | 5 | January | 2025-05-21
2025-05-21 08:58 | 218A250580181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 3002 | 4 | 5 | January | 2025-05-21
2025-05-21 08:52 | 218A250580181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 3002 | 4 | 5 | January | 2025-05-21
2025-05-20 10:20 | 218A251090181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 1 | 20415 | 3002 | 4 | 5 | January | 2025-05-20
2025-05-20 05:40 | 226N250590243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3002 | 4 | 5 | January | 2025-05-20
2025-05-19 17:25 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3002 | 4 | 5 | January | 2025-05-19
2025-05-19 14:51 | 226N250590243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 3002 | 4 | 5 | January | 2025-05-19
2025-05-19 14:39 | 226N250590243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 3002 | 4 | 5 | January | 2025-05-19
2025-05-19 13:26 | 226N250590243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3002 | 4 | 5 | January | 2025-05-19
2025-05-19 10:01 | 218A250580181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 79 | 20415 | 3002 | 4 | 5 | January | 2025-05-19
2025-05-19 09:17 | 218A250580181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 34 | 20415 | 3002 | 4 | 5 | January | 2025-05-19
2025-05-17 16:41 | 218A251090181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 3002 | 3 | 5 | January | 2025-05-17
2025-05-16 14:36 | 218A250580181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 38 | 20415 | 3002 | 3 | 5 | January | 2025-05-16
2025-05-16 14:19 | 226N250590243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 21 | 20415 | 3002 | 3 | 5 | January | 2025-05-16
2025-05-16 05:37 | 226N250590243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 38 | 20415 | 3002 | 3 | 5 | January | 2025-05-16
2025-05-14 15:01 | 218A250580181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3002 | 3 | 5 | January | 2025-05-14
2025-05-14 12:05 | 218A250580181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 3002 | 3 | 5 | January | 2025-05-14
2025-05-14 08:45 | 218A250260181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 31 | 20415 | 3002 | 3 | 5 | January | 2025-05-14
2025-05-13 03:47 | 226N250190243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 79 | 20415 | 3002 | 3 | 5 | January | 2025-05-13
2025-05-12 19:51 | 226W243560243 | RT 4WEST | 342137 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 3002 | 3 | 5 | January | 2025-05-12
2025-05-12 07:00 | 218A250580181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 3002 | 3 | 5 | January | 2025-05-12
2025-05-11 13:31 | 226N250190243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 30 | 20415 | 3002 | 3 | 5 | January | 2025-05-11
2025-05-08 23:01 | 226N250190243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 3002 | 2 | 5 | January | 2025-05-08
2025-05-08 22:56 | 226N250190243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 38 | 20415 | 3002 | 2 | 5 | January | 2025-05-08
2025-05-08 09:34 | 436R250430181 | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 26 | 20415 | 3002 | 2 | 5 | January | 2025-05-08
2025-05-08 04:06 | 226N250190243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3002 | 2 | 5 | January | 2025-05-08
2025-05-07 13:14 | 218A250580181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 23 | 20415 | 3002 | 2 | 5 | January | 2025-05-07
2025-05-07 10:27 | 436R250430181 | LST | 446560 | RG LAB IS/LST | Redacted | CODE 26 | 20415 | 3002 | 2 | 5 | January | 2025-05-07
2025-05-07 10:21 | 436R250430181 | LST | 446560 | RG LAB IS/LST | Redacted | CODE 26 | 20415 | 3002 | 2 | 5 | January | 2025-05-07
2025-05-07 08:48 | 218A250580181 | Lab #7 | 381552 | RG LAB IS/Z Lab | Redacted | CODE 43 | 20415 | 3002 | 2 | 5 | January | 2025-05-07
2025-05-07 08:26 | 219W250090243 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 32 | 20415 | 3002 | 2 | 5 | January | 2025-05-07
2025-05-06 19:19 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 3002 | 2 | 5 | January | 2025-05-06
2025-05-06 09:47 | 218A250580181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 3002 | 2 | 5 | January | 2025-05-06
2025-05-06 07:24 | 226N250190243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3002 | 2 | 5 | January | 2025-05-06
2025-05-05 11:23 | 226N250190243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 3002 | 2 | 5 | January | 2025-05-05
2025-05-05 09:04 | 218A250580181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 3002 | 2 | 5 | January | 2025-05-05
2025-05-05 03:19 | 218A250260181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 21 | 20415 | 3002 | 2 | 5 | January | 2025-05-05
2025-05-04 18:59 | 226N243430243 | SD HOSP LAB 1 | 386814 | RG SD IS/RG SD LAB | Redacted | CODE 80 | 20415 | 3002 | 2 | 5 | January | 2025-05-04
2025-05-04 18:55 | 226N243430243 | SD HOSP LAB 2 | 386605 | RG SD IS/RG SD LAB | Redacted | CODE 36 | 20415 | 3002 | 2 | 5 | January | 2025-05-04
2025-05-04 18:55 | 226N243430243 | SD HOSP LAB 1 | 386814 | RG SD IS/RG SD LAB | Redacted | CODE 36 | 20415 | 3002 | 2 | 5 | January | 2025-05-04
2025-05-03 17:28 | 226N250190243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 3002 | 1 | 5 | January | 2025-05-03
2025-05-03 01:20 | 218A250580181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 3002 | 1 | 5 | January | 2025-05-03
2025-05-02 16:47 | 218A250580181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 79 | 20415 | 3002 | 1 | 5 | January | 2025-05-02
2025-05-02 00:26 | 226N250590243 | MAIN LAB | 358992 | RG LAB IS/MAIN LAB | Redacted | CODE 36 | 20415 | 3002 | 1 | 5 | January | 2025-05-02
2025-05-01 17:55 | 218A250580181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 34 | 20415 | 3002 | 1 | 5 | January | 2025-05-01
2025-05-01 14:28 | 218A250580181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 3002 | 1 | 5 | January | 2025-05-01
2025-04-29 16:34 | 218A250580181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2713 | 5 | 4 | January | 2025-04-29
2025-04-29 15:49 | 226N250190243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2713 | 5 | 4 | January | 2025-04-29
2025-04-29 08:10 | 219W250090243 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2713 | 5 | 4 | January | 2025-04-29
2025-04-28 19:44 | 226N250190243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2713 | 5 | 4 | January | 2025-04-28
2025-04-28 16:10 | 218A250580181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2713 | 5 | 4 | January | 2025-04-28
2025-04-28 13:43 | 226N250190243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 21 | 20415 | 2713 | 5 | 4 | January | 2025-04-28
2025-04-28 13:36 | 226N250190243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 31 | 20415 | 2713 | 5 | 4 | January | 2025-04-28
2025-04-28 10:14 | 226N250190243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 32 | 20415 | 2713 | 5 | 4 | January | 2025-04-28
2025-04-28 10:12 | 226N250190243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 35 | 20415 | 2713 | 5 | 4 | January | 2025-04-28
2025-04-28 09:33 | 436R250160181 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 44 | 20415 | 2713 | 5 | 4 | January | 2025-04-28
2025-04-25 23:31 | 226N250190243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2713 | 4 | 4 | January | 2025-04-25
2025-04-25 16:50 | 218A250580181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2713 | 4 | 4 | January | 2025-04-25
2025-04-25 15:28 | 218A250580181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2713 | 4 | 4 | January | 2025-04-25
2025-04-25 15:19 | 218A250580181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2713 | 4 | 4 | January | 2025-04-25
2025-04-25 14:16 | 218A250260181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 35 | 20415 | 2713 | 4 | 4 | January | 2025-04-25
2025-04-25 14:10 | 218A250260181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 31 | 20415 | 2713 | 4 | 4 | January | 2025-04-25
2025-04-25 07:27 | 226N250190243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 31 | 20415 | 2713 | 4 | 4 | January | 2025-04-25
2025-04-22 13:27 | 218A250260181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 31 | 20415 | 2713 | 4 | 4 | January | 2025-04-22
2025-04-21 11:23 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 22 | 20415 | 2713 | 4 | 4 | January | 2025-04-21
2025-04-21 08:28 | 226W243560243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2713 | 4 | 4 | January | 2025-04-21
2025-04-21 07:22 | 218A250260181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 38 | 20415 | 2713 | 4 | 4 | January | 2025-04-21
2025-04-19 14:28 | 436R250430181 | Cath Lab 3 | 368309 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2713 | 3 | 4 | January | 2025-04-19
2025-04-18 19:11 | 226N250190243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2713 | 3 | 4 | January | 2025-04-18
2025-04-18 18:28 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2713 | 3 | 4 | January | 2025-04-18
2025-04-18 10:01 | 226N250190243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 31 | 20415 | 2713 | 3 | 4 | January | 2025-04-18
2025-04-17 19:59 | 226N250190243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 34 | 20415 | 2713 | 3 | 4 | January | 2025-04-17
2025-04-17 11:30 | 218A250260181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 30 | 20415 | 2713 | 3 | 4 | January | 2025-04-17
2025-04-17 10:54 | 218A250260181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 30 | 20415 | 2713 | 3 | 4 | January | 2025-04-17
2025-04-17 09:53 | 218A250260181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 35 | 20415 | 2713 | 3 | 4 | January | 2025-04-17
2025-04-17 08:46 | 218A250260181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2713 | 3 | 4 | January | 2025-04-17
2025-04-16 15:34 | 218A250260181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2713 | 3 | 4 | January | 2025-04-16
2025-04-16 15:32 | 218A250260181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2713 | 3 | 4 | January | 2025-04-16
2025-04-16 03:47 | 226W243560243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 30 | 20415 | 2713 | 3 | 4 | January | 2025-04-16
2025-04-15 20:08 | 226N243430243 | BV Hosp Lab 2 | 359929 | RG BV IS/BV ISTAT | Redacted | CODE 23 | 20415 | 2713 | 3 | 4 | January | 2025-04-15
2025-04-15 03:22 | 226W243560243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 35 | 20415 | 2713 | 3 | 4 | January | 2025-04-15
2025-04-13 18:22 | 218A250260181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2713 | 3 | 4 | January | 2025-04-13
2025-04-13 18:18 | 218A250260181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 21 | 20415 | 2713 | 3 | 4 | January | 2025-04-13
2025-04-13 18:15 | 218A250260181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 1 | 20415 | 2713 | 3 | 4 | January | 2025-04-13
2025-04-11 07:06 |  | SD HOSP LAB 1 | 386814 | RG SD IS/RG SD LAB | Redacted | CODE 69 | 20415 | 2713 | 2 | 4 | January | 2025-04-11
2025-04-09 11:18 | 436R250430181 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2713 | 2 | 4 | January | 2025-04-09
2025-04-09 11:18 | 219W250090243 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2713 | 2 | 4 | January | 2025-04-09
2025-04-09 10:58 | 218A250260181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2713 | 2 | 4 | January | 2025-04-09
2025-04-08 16:38 | 218A250260181 | SD HOSP LAB 1 | 386814 | RG SD IS/RG SD LAB | Redacted | CODE 43 | 20415 | 2713 | 2 | 4 | January | 2025-04-08
2025-04-08 10:34 | 436R250430181 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2713 | 2 | 4 | January | 2025-04-08
2025-04-08 10:34 | 219W250090243 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2713 | 2 | 4 | January | 2025-04-08
2025-04-07 16:18 | 218A250260181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-07 15:37 | 218A250260181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 38 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-07 14:38 | 218A243240181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 36 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-07 12:46 | 436R250160181 | Lab #7 | 381552 | RG LAB IS/Z Lab | Redacted | CODE 39 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-07 12:45 | 436R250160181 | Lab #8 | 334555 | RG LAB IS/Z Lab | Redacted | CODE 31 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-07 11:10 |  | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 95 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-07 09:24 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-07 09:19 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 2713 | 2 | 4 | January | 2025-04-07
2025-04-06 22:50 | 226W243560243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2713 | 2 | 4 | January | 2025-04-06
2025-04-06 17:07 |  | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 95 | 20415 | 2713 | 2 | 4 | January | 2025-04-06
2025-04-06 13:52 | 218A250260181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 36 | 20415 | 2713 | 2 | 4 | January | 2025-04-06
2025-04-04 14:16 | 218A250260181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2713 | 1 | 4 | January | 2025-04-04
2025-04-04 12:12 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 2713 | 1 | 4 | January | 2025-04-04
2025-04-04 11:00 | 219W243210243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 36 | 20415 | 2713 | 1 | 4 | January | 2025-04-04
2025-04-03 19:30 | 226W243560243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 36 | 20415 | 2713 | 1 | 4 | January | 2025-04-03
2025-04-03 16:29 | 218A250260181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2713 | 1 | 4 | January | 2025-04-03
2025-04-03 13:32 | 218A243240181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 79 | 20415 | 2713 | 1 | 4 | January | 2025-04-03
2025-04-03 13:24 | 218A243240181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2713 | 1 | 4 | January | 2025-04-03
2025-04-03 12:49 | 226W243560243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 36 | 20415 | 2713 | 1 | 4 | January | 2025-04-03
2025-04-03 08:38 | 218A250260181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2713 | 1 | 4 | January | 2025-04-03
2025-04-02 10:01 | 218A243240181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 23 | 20415 | 2713 | 1 | 4 | January | 2025-04-02
2025-04-02 08:45 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2713 | 1 | 4 | January | 2025-04-02
2025-04-02 08:40 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2713 | 1 | 4 | January | 2025-04-02
2025-04-01 19:36 | 226W243560243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2713 | 1 | 4 | January | 2025-04-01
2025-04-01 16:41 | 436R250430181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2713 | 1 | 4 | January | 2025-04-01
2025-04-01 14:22 | 218A250260181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 43 | 20415 | 2713 | 1 | 4 | January | 2025-04-01
2025-04-01 14:14 | 218A243240181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 30 | 20415 | 2713 | 1 | 4 | January | 2025-04-01
2025-03-31 09:53 | 218A243510181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2711 | 6 | 3 | January | 2025-03-31
2025-03-31 09:52 | 218A243240181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 34 | 20415 | 2711 | 6 | 3 | January | 2025-03-31
2025-03-30 21:20 | 218A243510181 | Lab #4 | 353757 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2711 | 6 | 3 | January | 2025-03-30
2025-03-30 21:10 | 218A243510181 | Lab #4 | 353757 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2711 | 6 | 3 | January | 2025-03-30
2025-03-30 13:32 | 218A243510181 | Lab #4 | 353757 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2711 | 6 | 3 | January | 2025-03-30
2025-03-29 10:59 | 218A243240181 | BV Hosp Lab 2 | 359929 | RG BV IS/BV ISTAT | Redacted | CODE 43 | 20415 | 2711 | 5 | 3 | January | 2025-03-29
2025-03-28 22:43 | 226W243560243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2711 | 5 | 3 | January | 2025-03-28
2025-03-28 13:23 | 219W243210243 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 43 | 20415 | 2711 | 5 | 3 | January | 2025-03-28
2025-03-27 13:38 | 226W243560243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 20 | 20415 | 2711 | 5 | 3 | January | 2025-03-27
2025-03-27 13:35 | 226W243560243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 20 | 20415 | 2711 | 5 | 3 | January | 2025-03-27
2025-03-27 13:33 | 226W243560243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 20 | 20415 | 2711 | 5 | 3 | January | 2025-03-27
2025-03-27 10:02 | 218A243510181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2711 | 5 | 3 | January | 2025-03-27
2025-03-27 09:56 | 218A243510181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2711 | 5 | 3 | January | 2025-03-27
2025-03-26 09:48 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 30 | 20415 | 2711 | 5 | 3 | January | 2025-03-26
2025-03-26 04:09 | 226N243430243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2711 | 5 | 3 | January | 2025-03-26
2025-03-25 23:26 | 218A243240181 | Lab #4 | 353757 | RG LAB IS/D Imaging | Redacted | CODE 38 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:55 | 218A243510181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:51 | 218A243510181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:51 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 43 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:49 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 38 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:46 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 31 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:42 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:40 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:35 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 15:29 | 218A243510181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 14:38 | 226N243430243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-25 12:52 | 226N243430243 | BV Hosp Lab 1 | 366106 | RG BV IS/BV ISTAT | Redacted | CODE 38 | 20415 | 2711 | 5 | 3 | January | 2025-03-25
2025-03-24 03:42 | 226N243430243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 31 | 20415 | 2711 | 5 | 3 | January | 2025-03-24
2025-03-22 21:27 | 226N243430243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2711 | 4 | 3 | January | 2025-03-22
2025-03-21 11:10 | 218A243240181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 23 | 20415 | 2711 | 4 | 3 | January | 2025-03-21
2025-03-21 10:56 | 436R250160181 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 22 | 20415 | 2711 | 4 | 3 | January | 2025-03-21
2025-03-21 10:52 | 436R250160181 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 39 | 20415 | 2711 | 4 | 3 | January | 2025-03-21
2025-03-20 08:52 | 218A243510181 | Lab #4 | 353757 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-20
2025-03-19 15:19 | 218A243510181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2711 | 4 | 3 | January | 2025-03-19
2025-03-19 08:28 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2711 | 4 | 3 | January | 2025-03-19
2025-03-19 08:22 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2711 | 4 | 3 | January | 2025-03-19
2025-03-19 05:21 | 226N243430243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 32 | 20415 | 2711 | 4 | 3 | January | 2025-03-19
2025-03-19 01:55 | 218A243510181 | Lab #4 | 353757 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2711 | 4 | 3 | January | 2025-03-19
2025-03-18 12:45 | 219W250090243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 43 | 20415 | 2711 | 4 | 3 | January | 2025-03-18
2025-03-18 09:59 |  | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 95 | 20415 | 2711 | 4 | 3 | January | 2025-03-18
2025-03-18 09:35 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-18
2025-03-18 09:31 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2711 | 4 | 3 | January | 2025-03-18
2025-03-18 09:31 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2711 | 4 | 3 | January | 2025-03-18
2025-03-18 09:27 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-18
2025-03-17 14:33 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-17 12:37 | 226N243430243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 79 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-17 12:14 | 226N242761243 | BV Hosp Lab 2 | 359929 | RG BV IS/BV ISTAT | Redacted | CODE 23 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-17 11:05 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-17 11:01 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-17 09:35 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 30 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-17 02:50 | 226N243430243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-17 02:29 | 226N243430243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2711 | 4 | 3 | January | 2025-03-17
2025-03-16 16:03 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 21 | 20415 | 2711 | 4 | 3 | January | 2025-03-16
2025-03-16 16:01 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-16
2025-03-16 15:58 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-16
2025-03-16 15:56 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-16
2025-03-16 15:28 | 218A243510181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 80 | 20415 | 2711 | 4 | 3 | January | 2025-03-16
2025-03-14 12:57 | 218A243510181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2711 | 3 | 3 | January | 2025-03-14
2025-03-14 12:53 | 218A243510181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2711 | 3 | 3 | January | 2025-03-14
2025-03-14 03:03 | 226N243430243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 35 | 20415 | 2711 | 3 | 3 | January | 2025-03-14
2025-03-13 04:01 | 226N243430243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2711 | 3 | 3 | January | 2025-03-13
2025-03-13 03:57 | 226N243430243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2711 | 3 | 3 | January | 2025-03-13
2025-03-12 22:10 | 226N243430243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 34 | 20415 | 2711 | 3 | 3 | January | 2025-03-12
2025-03-12 10:10 | 218A243240181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 34 | 20415 | 2711 | 3 | 3 | January | 2025-03-12
2025-03-12 08:36 | 218A243510181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 24 | 20415 | 2711 | 3 | 3 | January | 2025-03-12
2025-03-11 16:00 | 219W243210243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 43 | 20415 | 2711 | 3 | 3 | January | 2025-03-11
2025-03-11 12:55 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 39 | 20415 | 2711 | 3 | 3 | January | 2025-03-11
2025-03-10 13:29 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 39 | 20415 | 2711 | 3 | 3 | January | 2025-03-10
2025-03-10 08:17 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 22 | 20415 | 2711 | 3 | 3 | January | 2025-03-10
2025-03-10 08:11 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 39 | 20415 | 2711 | 3 | 3 | January | 2025-03-10
2025-03-10 08:05 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2711 | 3 | 3 | January | 2025-03-10
2025-03-10 06:41 | 218A243510181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 23 | 20415 | 2711 | 3 | 3 | January | 2025-03-10
2025-03-06 10:20 | 436R250160181 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 30 | 20415 | 2711 | 2 | 3 | January | 2025-03-06
2025-03-05 16:25 | 226N243430243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 36 | 20415 | 2711 | 2 | 3 | January | 2025-03-05
2025-03-05 16:19 | 226N243430243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2711 | 2 | 3 | January | 2025-03-05
2025-03-05 14:30 | 219W243210243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 35 | 20415 | 2711 | 2 | 3 | January | 2025-03-05
2025-03-05 14:25 | 219W243210243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 31 | 20415 | 2711 | 2 | 3 | January | 2025-03-05
2025-03-05 12:27 | 546C242680181 | MHC PAIN CL | 410112 | RG 102 IS/Pain 102 | Redacted | CODE 166 | 20415 | 2711 | 2 | 3 | January | 2025-03-05
2025-03-04 15:06 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2711 | 2 | 3 | January | 2025-03-04
2025-03-04 13:08 | 436R250160181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 39 | 20415 | 2711 | 2 | 3 | January | 2025-03-04
2025-03-03 16:30 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 43 | 20415 | 2711 | 2 | 3 | January | 2025-03-03
2025-03-03 15:16 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2711 | 2 | 3 | January | 2025-03-03
2025-03-03 13:06 | 436R250160181 | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 39 | 20415 | 2711 | 2 | 3 | January | 2025-03-03
2025-03-03 09:27 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 43 | 20415 | 2711 | 2 | 3 | January | 2025-03-03
2025-03-01 11:45 | 226N242761243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 38 | 20415 | 2711 | 1 | 3 | January | 2025-03-01
2025-02-28 17:08 | 226N243320243 | MAIN LAB | 358992 | RG LAB IS/MAIN LAB | Redacted | CODE 80 | 20415 | 2671 | 5 | 2 | January | 2025-02-28
2025-02-28 14:05 | 218A243240181 | CT SCAN 2 | 339052 | RG LAB IS/D Imaging | Redacted | CODE 30 | 20415 | 2671 | 5 | 2 | January | 2025-02-28
2025-02-27 10:28 | 436R243410181 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 44 | 20415 | 2671 | 5 | 2 | January | 2025-02-27
2025-02-26 18:28 | 226N242610243 | SD HOSP LAB 2 | 386605 | RG SD IS/RG SD LAB | Redacted | CODE 34 | 20415 | 2671 | 5 | 2 | January | 2025-02-26
2025-02-26 16:39 | 226N243430243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 36 | 20415 | 2671 | 5 | 2 | January | 2025-02-26
2025-02-26 13:43 | 218A243150181 | SPGD MRI | 377382 | RG SD IS/SDMR iSTAT | Redacted | CODE 43 | 20415 | 2671 | 5 | 2 | January | 2025-02-26
2025-02-25 18:06 | 218A243240181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 31 | 20415 | 2671 | 5 | 2 | January | 2025-02-25
2025-02-25 15:14 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 1 | 20415 | 2671 | 5 | 2 | January | 2025-02-25
2025-02-25 12:25 | 226N242610243 | SD HOSP LAB 1 | 386814 | RG SD IS/RG SD LAB | Redacted | CODE 36 | 20415 | 2671 | 5 | 2 | January | 2025-02-25
2025-02-25 10:23 | 436R243410181 | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 80 | 20415 | 2671 | 5 | 2 | January | 2025-02-25
2025-02-25 04:00 | 226N243320243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 36 | 20415 | 2671 | 5 | 2 | January | 2025-02-25
2025-02-24 12:48 | 218A243240181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2671 | 5 | 2 | January | 2025-02-24
2025-02-24 12:36 | 218A243240181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2671 | 5 | 2 | January | 2025-02-24
2025-02-22 04:20 | 226N242761243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 38 | 20415 | 2671 | 4 | 2 | January | 2025-02-22
2025-02-19 16:57 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2671 | 4 | 2 | January | 2025-02-19
2025-02-19 16:18 | 219W242750243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2671 | 4 | 2 | January | 2025-02-19
2025-02-19 16:09 | 219W242750243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2671 | 4 | 2 | January | 2025-02-19
2025-02-19 05:11 | 226N243320243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2671 | 4 | 2 | January | 2025-02-19
2025-02-18 11:28 | 436R243410181 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 39 | 20415 | 2671 | 4 | 2 | January | 2025-02-18
2025-02-18 00:45 | 226N243320243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 34 | 20415 | 2671 | 4 | 2 | January | 2025-02-18
2025-02-17 13:39 | 226N243320243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2671 | 4 | 2 | January | 2025-02-17
2025-02-15 22:32 | 226N243320243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 34 | 20415 | 2671 | 3 | 2 | January | 2025-02-15
2025-02-15 14:55 | 226N242761243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-15
2025-02-15 14:35 | 226N242761243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 23 | 20415 | 2671 | 3 | 2 | January | 2025-02-15
2025-02-15 11:54 | 436R243410181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2671 | 3 | 2 | January | 2025-02-15
2025-02-14 08:44 | 218A242570181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2671 | 3 | 2 | January | 2025-02-14
2025-02-14 08:37 | 218A243240181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 1 | 20415 | 2671 | 3 | 2 | January | 2025-02-14
2025-02-13 16:38 | 226N243320243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2671 | 3 | 2 | January | 2025-02-13
2025-02-13 09:50 | 218A243240181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 31 | 20415 | 2671 | 3 | 2 | January | 2025-02-13
2025-02-13 08:40 |  | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 95 | 20415 | 2671 | 3 | 2 | January | 2025-02-13
2025-02-13 08:40 |  | CVOR #4 | 367452 | RG LAB IS/CVOR | Redacted | CODE 95 | 20415 | 2671 | 3 | 2 | January | 2025-02-13
2025-02-12 16:38 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 38 | 20415 | 2671 | 3 | 2 | January | 2025-02-12
2025-02-12 12:05 | 546C242680181 | MHC PAIN CL | 410112 | RG 102 IS/Pain 102 | Redacted | CODE 166 | 20415 | 2671 | 3 | 2 | January | 2025-02-12
2025-02-12 10:16 | 218A243240181 | LST | 411305 | RG LAB IS/Z Lab | Redacted | CODE 80 | 20415 | 2671 | 3 | 2 | January | 2025-02-12
2025-02-12 09:49 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-12
2025-02-11 22:38 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2671 | 3 | 2 | January | 2025-02-11
2025-02-11 14:50 | 436R243410181 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 39 | 20415 | 2671 | 3 | 2 | January | 2025-02-11
2025-02-11 06:54 | 219W242750243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-11
2025-02-10 23:52 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 23:50 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 23:25 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 23:24 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 23:22 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 23:08 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 23:06 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 23:04 | 436R243410181 | LST | 411305 | RG LAB IS/LST | Redacted | CODE 79 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 22:12 | 226N243320243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 36 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 19:17 | 218A243240181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 17:02 | 436R243410181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 15:10 | 226N243320243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 31 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 13:20 | 226N243320243 | RT 4WEST | 342137 | RG LAB IS/RT | Redacted | CODE 36 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-10 11:14 | 436R243410181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2671 | 3 | 2 | January | 2025-02-10
2025-02-07 17:25 | 226N242761243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2671 | 2 | 2 | January | 2025-02-07
2025-02-07 10:36 | 219W243210243 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 21 | 20415 | 2671 | 2 | 2 | January | 2025-02-07
2025-02-07 09:23 | 218A243150181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 34 | 20415 | 2671 | 2 | 2 | January | 2025-02-07
2025-02-06 19:31 | 218A242570181 | BV Hosp Lab 2 | 359929 | RG BV IS/BV ISTAT | Redacted | CODE 21 | 20415 | 2671 | 2 | 2 | January | 2025-02-06
2025-02-06 19:31 | 218A242570181 | BV Hosp Lab 1 | 366106 | RG BV IS/BV ISTAT | Redacted | CODE 21 | 20415 | 2671 | 2 | 2 | January | 2025-02-06
2025-02-06 18:57 | 218A242570181 | BV Hosp Lab 1 | 366106 | RG BV IS/BV ISTAT | Redacted | CODE 31 | 20415 | 2671 | 2 | 2 | January | 2025-02-06
2025-02-06 18:57 | 218A242570181 | BV Hosp Lab 2 | 359929 | RG BV IS/BV ISTAT | Redacted | CODE 31 | 20415 | 2671 | 2 | 2 | January | 2025-02-06
2025-02-06 16:08 | 219W242750243 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 31 | 20415 | 2671 | 2 | 2 | January | 2025-02-06
2025-02-06 15:56 | 436R243120181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 46 | 20415 | 2671 | 2 | 2 | January | 2025-02-06
2025-02-06 00:09 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2671 | 2 | 2 | January | 2025-02-06
2025-02-05 14:04 | 226N242761243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 34 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-05 12:22 | 436R243120181 | Cath Lab 3 | 368309 | RG LAB IS/H Cath Lab | Redacted | CODE 22 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-05 11:58 | 226N242761243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-05 11:52 | 436R243120181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-05 09:18 | 226N242761243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-05 09:14 | 226N242761243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-05 06:09 | 226N242761243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 31 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-05 06:00 | 226N242761243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 30 | 20415 | 2671 | 2 | 2 | January | 2025-02-05
2025-02-04 15:27 | 226N242761243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 36 | 20415 | 2671 | 2 | 2 | January | 2025-02-04
2025-02-04 11:37 | 219W243210243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 36 | 20415 | 2671 | 2 | 2 | January | 2025-02-04
2025-02-03 14:39 | 436R243410181 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 31 | 20415 | 2671 | 2 | 2 | January | 2025-02-03
2025-02-03 10:16 | 218A243150181 | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 31 | 20415 | 2671 | 2 | 2 | January | 2025-02-03
2025-02-03 09:57 | 436R243120181 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 31 | 20415 | 2671 | 2 | 2 | January | 2025-02-03
2025-02-03 09:56 |  | Cath Lab EP | 446120 | RG LAB IS/H Cath Lab | Redacted | CODE 95 | 20415 | 2671 | 2 | 2 | January | 2025-02-03
2025-02-01 05:58 | 218A243150181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 23 | 20415 | 2671 | 1 | 2 | January | 2025-02-01
2025-01-31 03:05 | 226N242761243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2873 | 5 | 1 | January | 2025-01-31
2025-01-29 16:07 | 218A243150181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2873 | 5 | 1 | January | 2025-01-29
2025-01-28 15:15 | 218A243150181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2873 | 5 | 1 | January | 2025-01-28
2025-01-28 10:07 | 436R243120181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 31 | 20415 | 2873 | 5 | 1 | January | 2025-01-28
2025-01-27 21:41 | 218A243150181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 36 | 20415 | 2873 | 5 | 1 | January | 2025-01-27
2025-01-27 15:29 | 218A243150181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2873 | 5 | 1 | January | 2025-01-27
2025-01-25 21:11 | 226N241940243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 4 | 1 | January | 2025-01-25
2025-01-24 22:43 | 226N241940243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 21 | 20415 | 2873 | 4 | 1 | January | 2025-01-24
2025-01-24 22:40 |  | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 95 | 20415 | 2873 | 4 | 1 | January | 2025-01-24
2025-01-24 14:03 |  | MHC DIAG | 399584 | RG 102 IS/Mercy 102 | Redacted | CODE 95 | 20415 | 2873 | 4 | 1 | January | 2025-01-24
2025-01-24 13:32 | 218A243150181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 23 | 20415 | 2873 | 4 | 1 | January | 2025-01-24
2025-01-24 12:17 | 226N242761243 | MAIN LAB | 358992 | RG LAB IS/MAIN LAB | Redacted | CODE 31 | 20415 | 2873 | 4 | 1 | January | 2025-01-24
2025-01-23 10:21 | 219W242750243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 30 | 20415 | 2873 | 4 | 1 | January | 2025-01-23
2025-01-22 08:04 | 218A243150181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 34 | 20415 | 2873 | 4 | 1 | January | 2025-01-22
2025-01-20 19:14 | 226N241940243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 4 | 1 | January | 2025-01-20
2025-01-20 06:14 | 219W242750243 | MHC Surg | 362937 | RG 102 IS/Surg 102 | Redacted | CODE 30 | 20415 | 2873 | 4 | 1 | January | 2025-01-20
2025-01-19 20:46 | 226N241940243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 4 | 1 | January | 2025-01-19
2025-01-18 03:43 | 226N241940243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 3 | 1 | January | 2025-01-18
2025-01-17 17:23 | 218A243150181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2873 | 3 | 1 | January | 2025-01-17
2025-01-17 10:49 | 436R243120181 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 25 | 20415 | 2873 | 3 | 1 | January | 2025-01-17
2025-01-17 09:05 | 218A242570181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 31 | 20415 | 2873 | 3 | 1 | January | 2025-01-17
2025-01-16 17:57 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 3 | 1 | January | 2025-01-16
2025-01-16 15:45 | 436R242660181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2873 | 3 | 1 | January | 2025-01-16
2025-01-16 15:18 | 226N241940243 | RT ICU 3 | 365206 | RG LAB IS/RT | Redacted | CODE 31 | 20415 | 2873 | 3 | 1 | January | 2025-01-16
2025-01-16 13:54 | 219W242750243 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 32 | 20415 | 2873 | 3 | 1 | January | 2025-01-16
2025-01-16 12:21 | 219W242750243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 80 | 20415 | 2873 | 3 | 1 | January | 2025-01-16
2025-01-16 11:45 | 226N241940243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 3 | 1 | January | 2025-01-16
2025-01-15 20:58 | 226N241940243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 3 | 1 | January | 2025-01-15
2025-01-15 20:49 | 226N241940243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 31 | 20415 | 2873 | 3 | 1 | January | 2025-01-15
2025-01-15 17:04 | 226N241940243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 3 | 1 | January | 2025-01-15
2025-01-15 10:52 | 218A243150181 | RAD Nurses | 334906 | RG LAB IS/D Imaging | Redacted | CODE 36 | 20415 | 2873 | 3 | 1 | January | 2025-01-15
2025-01-14 01:48 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2873 | 3 | 1 | January | 2025-01-14
2025-01-13 09:33 | 219W242750243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 23 | 20415 | 2873 | 3 | 1 | January | 2025-01-13
2025-01-13 09:19 | 219W242750243 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 23 | 20415 | 2873 | 3 | 1 | January | 2025-01-13
2025-01-11 19:16 | 218A243150181 | MRI | 350798 | RG LAB IS/D Imaging | Redacted | CODE 35 | 20415 | 2873 | 2 | 1 | January | 2025-01-11
2025-01-11 03:24 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2873 | 2 | 1 | January | 2025-01-11
2025-01-09 20:06 | 226N241940243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 31 | 20415 | 2873 | 2 | 1 | January | 2025-01-09
2025-01-09 05:53 | 226N241940243 | RT ICU 1 | 330331 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 2 | 1 | January | 2025-01-09
2025-01-09 04:50 | 218A243150181 | CT SCAN 1 | 350732 | RG LAB IS/D Imaging | Redacted | CODE 38 | 20415 | 2873 | 2 | 1 | January | 2025-01-09
2025-01-08 18:42 |  | Cath Lab 3 | 368309 | RG LAB IS/H Cath Lab | Redacted | CODE 95 | 20415 | 2873 | 2 | 1 | January | 2025-01-08
2025-01-08 11:24 | 436R243120181 | Cath Lab 1 | 352877 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2873 | 2 | 1 | January | 2025-01-08
2025-01-08 10:33 | 219W242750243 | CVOR #1 | 383511 | RG LAB IS/CVOR | Redacted | CODE 43 | 20415 | 2873 | 2 | 1 | January | 2025-01-08
2025-01-07 22:09 | 226N241940243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 30 | 20415 | 2873 | 2 | 1 | January | 2025-01-07
2025-01-07 13:53 | 436R243120181 | Cath Lab 2 | 340072 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2873 | 2 | 1 | January | 2025-01-07
2025-01-07 10:21 | 436R243120181 | CVOR #2 | 355532 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2873 | 2 | 1 | January | 2025-01-07
2025-01-07 10:20 | 219W242750243 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 15 | 20415 | 2873 | 2 | 1 | January | 2025-01-07
2025-01-07 09:07 | 218A242570181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2873 | 2 | 1 | January | 2025-01-07
2025-01-06 22:55 | 226N241940243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 80 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 22:41 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 17:40 | 218A242570181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 17:31 | 218A242570181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 17:20 | 218A242570181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 17:18 | 218A242570181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 17:17 | 218A242570181 | SPGD CT | 311043 | RG SD IS/SDCT ISTAT | Redacted | CODE 79 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 10:08 | 436R243120181 | Train 15 | 331307 | RG LAB IS/H Cath Lab | Redacted | CODE 44 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 09:33 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 01:41 | 226N241940243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 38 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-06 01:37 | 226N241940243 | RT ED | 365500 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 2 | 1 | January | 2025-01-06
2025-01-04 08:31 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 30 | 20415 | 2873 | 1 | 1 | January | 2025-01-04
2025-01-04 04:08 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2873 | 1 | 1 | January | 2025-01-04
2025-01-04 00:31 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 23 | 20415 | 2873 | 1 | 1 | January | 2025-01-04
2025-01-03 16:53 | 226N241940243 | RT NICU | 443201 | RG LAB IS/RT NICU | Redacted | CODE 29 | 20415 | 2873 | 1 | 1 | January | 2025-01-03
2025-01-03 13:16 | 436R243120181 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 44 | 20415 | 2873 | 1 | 1 | January | 2025-01-03
2025-01-03 11:51 | 219W242750243 | CVOR #3 | 365209 | RG LAB IS/CVOR | Redacted | CODE 36 | 20415 | 2873 | 1 | 1 | January | 2025-01-03
2025-01-03 11:50 | 436R243120181 | Cath Lab 2 | 340072 | RG LAB IS/H Cath Lab | Redacted | CODE 25 | 20415 | 2873 | 1 | 1 | January | 2025-01-03
2025-01-02 16:01 | 218A242570181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 38 | 20415 | 2873 | 1 | 1 | January | 2025-01-02
2025-01-02 08:57 | 218A242570181 | BVCT | 361505 | RG BV IS/BVCT ISTAT | Redacted | CODE 35 | 20415 | 2873 | 1 | 1 | January | 2025-01-02
2025-01-02 03:12 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 1 | 1 | January | 2025-01-02
2025-01-01 03:22 | 226N241940243 | RT ICU 2 | 312775 | RG LAB IS/RT | Redacted | CODE 80 | 20415 | 2873 | 1 | 1 | January | 2025-01-01
Formulas:
Week Number = WEEKNUM(Table1[[#This Row],[Date/Time]]) - WEEKNUM(DATE(YEAR(Table1[[#This Row],[Date/Time]]),MONTH(Table1[[#This Row],[Date/Time]]),1)) + 1
Date = INT(Table1[[#This Row],[Date/Time]])

## Sheet2
Month | Month # | # of Test Per Month
January | 1 | 2873
February | 2 | 2671
March | 3 | 2711
April | 4 | 2713
May | 5 | 3002
June | 6 | 3032
July | 7 | 2830
August | 8 | 584
September | 9 | 0
October | 10 | 0
November | 11 | 0
December | 12 | 0
| Total | 20416